PRODUCT CERTIFICATION TEMPLATE 3b

Primary and Secondary Batteries

# Purpose

Product templates identify parameters that should be tested and the standards against which each parameter should be tested to enable a comprehensive evaluation of products.

# Scope

The template is applicable to all batteries used to provide main and back-up direct current power for Aids to Navigation systems on land and afloat.

# Test Standards

The Templates quote international standards. If an IALA Product Certification Authority (IALA-PCA) wishes to use an alternative standard, it is the responsibility of the IALA-PCA to confirm that the standard used conforms to the IALA quoted standard. Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.

Product Certification Template 3b - Primary and Secondary Batteries

Product Type / Manufacturer Reference Number:

| Ref. No | Parameter category | Parameter | Measured Value | Test Method | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Electrical |  |  |  |  |
| 1.1 |  | Battery Type |  |  |  |
| 1.2 |  | Capacity |  |  | Stated at C/5; C/20; C/100 discharge rate |
| 1.3 |  | Voltage |  |  | Nominal |
| 1.4 |  | Boost charge voltage |  |  |  |
| 1.5 |  | Float charge voltage |  |  | Define connector and/or terminal type |
| 1.6 |  | Final discharge voltage |  |  | At C100 discharge rate |
| 1.7 |  | Maximum charge current |  |  |  |
| 1.8 |  | Maximum discharge current |  |  |  |
| 1.9 |  | Temperature compensation of charge voltage |  |  | State value |
| 1.10 |  | Charge cycles |  | IEC 61427 |  |
| 1.11 |  | Battery efficiency |  | IEC 61427 |  |
| 1.12 |  | Charge profile / Discharge profile |  |  |  |
| 1.13 |  | Self discharge |  |  |  |
| 1.14 |  | Shelf-life |  |  |  |
| 2 | Physical |  |  |  |  |
| 2.1 |  | Dimensions |  |  |  |
| 2.2 |  | Weight |  |  |  |
| 2.3 |  | Terminations |  |  |  |
| 2.4 |  | Materials |  |  | state Construction materials |
| 2.5 |  | MTBF |  |  |  |
| 2.6 |  | Tilt angle until electrolyte is not spilled |  |  |  |
| 2.7 |  | Sealed batteries: Max. tilt angle while charging |  |  |  |
| 2.8 |  | For large cells: Can they be shipped dry and filled on site? |  |  |  |
| 3 | Environmental |  |  |  |  |
| 3.1 |  | Temperature – operational and storage |  |  |  |
| 3.2 |  | Humidity – operational and storage |  | IEC 60945 section 8.3; IEC 60068-2-3; | JIS C 5024 |
| 3.3 |  | Immersion |  | IEC 60945 section 8.9 | JIS C 0920 |
| 3.4 |  | Salt air and sea water spray |  | IEC 60945 section 8.12 |  |
| 3.5 |  | Environmental protection |  |  |  |
| 4 | Service |  |  |  |  |
| 4.1 |  | Maintenance free period |  |  |  |
| 4.2 |  | Rework at stated intervals possible |  |  |  |
| 4.3 |  | Assured service life of all components |  |  |  |
| 4.4 |  | Any safety precautions e.g. fusing, short circuit protection |  |  |  |
| 5 | Disposal |  |  |  |  |
| 5.1 |  | Obligatory and recommended disposal method |  |  | IALA guideline 1036 – Environmental Considerations in Aids to Navigation Engineering |

 Where no test standard is mentioned the manufacturer should state the test standard used, preferably with reference to international or national standards.